## Parameters
Decision |  |  | 1 | 2 | 3
Solar Installation | 2 |  | 0 | -12227.25 | -8277.5
Uncertainty
Maine Solar Incentive | 1 |  | Incentive 1: Best, 100% through all years ¦ Incentive 2: Good, 100% through 15 years, 50% thereafter ¦ Incentive 3: Decent, 100% for 5 years, decreases 10% thereafter to 30 ¦ Incentive 4: Bad, 100% for two years, decrease by 10 thereafter to 0
Parameters
Federal Tax Credit Rate (%) | 30%
Efficiency Maine Heat Pump Rebate (4) | 500
Loan Interest Rate (%) | 5%
Annual Heat Pump Maintenance ($) | -150
Net Costs | Solar Option 2 | Solar Option 3 | Option 1: None
Cost of Solar Installation | -12850 | -11825 | Option 2: 5.45 kW array with Heat Pump (replaces oil burning furnace)
Cost w/ Federal Tax Credit Applied | -8995 | -8277.5 | Option 3: 4.275 kW array without Heat Pump (continue to heat with oil burning furnace)
Cost of Heat Pump Installation | -3150 | N/A
Cost w/ Rebate Applied | -2650 | N/A
Total Financed Cost | -12227.25 | -8277.5
Electricity Rates & Generation
Electric Rate $/kWh | 0.17
Annual kW hrs1 | 6750
Annual kWh Rate Increase % | 1.5%
Production Degradation | 0.5%
Cost of Heating (Option 2)
Current No. 2 Heating Oil Price ($/gal) | 2.63
Cost / 1M BTUs2 | 25.2743
Heated Area (Sq. Ft.) | 1500
Annual BTUs (M) needed | 60 |  | 2For regular-sized home within a Severe Winter Zone
Annual Heating Costs | 1516.458
Outputs
Total Savings w/Heat | 68637.0004
Rate of Return | 20.6%
Total Savings w/o Heat | 27643.2604
Rate of Return | 7.153%
1Source: http://pvwatts.nrel.gov/index.php
2Source: http://www.travisindustries.com/CostOfHeating_WkSht.asp
Source: http://www.maine.gov/energy/fuel_prices/heating-calculator.php

## Probs
Maine Solar Incentive
Best | 0.2
Good | 0.2
Decent | 0.35
Bad | 0.25
Oil Price | 0.05
0.55
0.4

## Solar Rate of Return
Percentage of Electricity Value Credited
Year | kWh produced | Incentive 1, Best | Incentive 2, Good | Incentive 3, Decent | Incentive 4, Bad | $/kWh | Electricity Savings | Heat Savings | Combined Savings | Cashflow | Cashflow w/o Heat
|  | 1 | 2 | 3 | 4
0 | 0 | 100% | 100% | 100% | 100% | 0 | 0 | 0 | 0 | -12227.25 | -12227.25
1 | 6750 | 100% | 100% | 100% | 100% | 0.17 | 1147.5 | 1366.458 | 2513.958 | -9713.292 | -11079.75
2 | 6716.25 | 100% | 100% | 100% | 100% | 0.17255 | 1158.8889 | 1366.458 | 2525.3469 | -7187.9451 | -9920.8611
3 | 6682.6687 | 100% | 100% | 100% | 90% | 0.17514 | 1170.3909 | 1366.458 | 2536.8489 | -4651.0962 | -8750.4702
4 | 6649.2554 | 100% | 100% | 100% | 80% | 0.17777 | 1182.007 | 1366.458 | 2548.465 | -2102.6311 | -7568.4631
5 | 6616.0091 | 100% | 100% | 100% | 70% | 0.18043 | 1193.7385 | 1366.458 | 2560.1965 | 457.5653 | -6374.7247
6 | 6582.9291 | 100% | 100% | 80% | 60% | 0.18314 | 1205.5863 | 1366.458 | 2572.0443 | 3029.6097 | -5169.1383
7 | 6550.0144 | 100% | 100% | 70% | 50% | 0.18589 | 1217.5518 | 1366.458 | 2584.0098 | 5613.6194 | -3951.5866
8 | 6517.2644 | 100% | 100% | 60% | 40% | 0.18867 | 1229.636 | 1366.458 | 2596.094 | 8209.7134 | -2721.9506
9 | 6484.678 | 100% | 100% | 50% | 30% | 0.1915 | 1241.8401 | 1366.458 | 2608.2981 | 10818.0115 | -1480.1105
10 | 6452.2547 | 100% | 100% | 40% | 20% | 0.19438 | 1254.1654 | 1366.458 | 2620.6234 | 13438.6348 | -225.9452
11 | 6419.9934 | 100% | 100% | 30% | 10% | 0.19729 | 1266.613 | 1366.458 | 2633.071 | 16071.7058 | 1040.6678
12 | 6387.8934 | 100% | 100% | 30% | 0% | 0.20025 | 1279.1841 | 1366.458 | 2645.6421 | 18717.3479 | 2319.8519
13 | 6355.9539 | 100% | 100% | 30% | 0% | 0.20326 | 1291.88 | 1366.458 | 2658.338 | 21375.6859 | 3611.7319
14 | 6324.1742 | 100% | 100% | 30% | 0% | 0.2063 | 1304.7019 | 1366.458 | 2671.1599 | 24046.8458 | 4916.4338
15 | 6292.5533 | 100% | 100% | 30% | 0% | 0.2094 | 1317.6511 | 1366.458 | 2684.1091 | 26730.9548 | 6234.0848
16 | 6261.0905 | 100% | 50% | 30% | 0% | 0.21254 | 1330.7287 | 1366.458 | 2697.1867 | 29428.1416 | 7564.8136
17 | 6229.7851 | 100% | 50% | 30% | 0% | 0.21573 | 1343.9362 | 1366.458 | 2710.3942 | 32138.5358 | 8908.7498
18 | 6198.6362 | 100% | 50% | 30% | 0% | 0.21896 | 1357.2748 | 1366.458 | 2723.7328 | 34862.2686 | 10266.0246
19 | 6167.643 | 100% | 50% | 30% | 0% | 0.22225 | 1370.7458 | 1366.458 | 2737.2038 | 37599.4723 | 11636.7703
20 | 6136.8048 | 100% | 50% | 30% | 0% | 0.22558 | 1384.3504 | 1366.458 | 2750.8084 | 40350.2807 | 13021.1207
21 | 6106.1207 | 100% | 50% | 30% | 0% | 0.22897 | 1398.0901 | 1366.458 | 2764.5481 | 43114.8288 | 14419.2108
22 | 6075.5901 | 100% | 50% | 30% | 0% | 0.2324 | 1411.9661 | 1366.458 | 2778.4241 | 45893.2529 | 15831.1769
23 | 6045.2122 | 100% | 50% | 30% | 0% | 0.23589 | 1425.9799 | 1366.458 | 2792.4379 | 48685.6908 | 17257.1568
24 | 6014.9861 | 100% | 50% | 30% | 0% | 0.23942 | 1440.1327 | 1366.458 | 2806.5907 | 51492.2816 | 18697.2896
25 | 5984.9112 | 100% | 50% | 30% | 0% | 0.24302 | 1454.4261 | 1366.458 | 2820.8841 | 54313.1656 | 20151.7156
26 | 5954.9866 | 100% | 50% | 30% | 0% | 0.24666 | 1468.8612 | 1366.458 | 2835.3192 | 57148.4849 | 21620.5769
27 | 5925.2117 | 100% | 50% | 30% | 0% | 0.25036 | 1483.4397 | 1366.458 | 2849.8977 | 59998.3825 | 23104.0165
28 | 5895.5856 | 100% | 50% | 30% | 0% | 0.25412 | 1498.1628 | 1366.458 | 2864.6208 | 62863.0034 | 24602.1794
29 | 5866.1077 | 100% | 50% | 30% | 0% | 0.25793 | 1513.0321 | 1366.458 | 2879.4901 | 65742.4934 | 26115.2114
30 | 5836.7772 | 100% | 50% | 30% | 0% | 0.2618 | 1528.0489 | 1366.458 | 2894.5069 | 68637.0004 | 27643.2604